Thermal Blanket Design: LT550LFP-HS (LT288C-LFP-HS)

Applications and Markets: Valves, Flanges, Pumps, Expansion Joints, Drip Legs, Piping, Equipment and Complex Surfaces that otherwise are left untreated. “Confined Space” applications with high temperature, steam vapor & flooding. Blanket design is CUI: Corrosion Under Insulation Compliant, Hydrophobic, Water Resistant & Corrosion Resistant.

Service Temperature/Condition: This design is to act as a Thermal Barrier with a maximum service temperature of 288˚C (550˚F).

Product Components: The Outer and Inner Non-Porous Jacketing is a 459 g/m² (13.5 oz/yd²) 100 percent PTFE Laminate The Insulation Core consists of Hydrophobic Supermat™ @ 9 pcf (176.2 kg/m3) Type “E” Fiber, encapsulated by the inner and outer jacketing, with a double sewn construction, producing a “Self-Contained system”. The Shannon Blanket System includes Integral Fasteners for install & removal.

Blanket Construction: Blanket construction shall be a “Double Sewn” lock stitch with a minimum 5 stitches per inch (2 stitches per CM). All raw jacket edges will have a tri-fold PTFE Teflon® Laminate binding. No raw cut jacket edge will be exposed. Stitching will be pure Teflon® 3-Ply thread. No “On-Site Fabrication” to assure high quality. Made in the U.S.A.

Blanket Design Overlap: To minimize heat loss, the blanket will extend beyond mating flanges unto existing insulation for a minimum of 2” (5CM). Where blanket cannot fit over existing oversized insulation, blanket will butt up to existing insulation with a friction fit closing seam. All sections of pipes will be insulated and open gaps are not acceptable. Blanket diameters which are 1” (2.5CM) or larger than existing insulation must be end capped to eliminate open air void.

Leak Accommodation: To accommodate a leak and detect its origin, blankets will have a low point stainless steel drain grommet or the design will incorporate a mating seam at the lowest point of the blanket.

Blanket Insulation Weight: When designing blanket insulation for large equipment where a multi-piece construction is necessary, the total number of pieces will be minimized. Any one piece will not exceed 40 lbs (18 KG) in weight.

ID Plate: For easy identification and location, a stainless steel or aluminum name plate tag is riveted to each blanket piece. 1/8” (0.32CM) embossed lettering shows location, description, size, pressure rating and tag number sequence. Each blanket will include an I.D. Plate.

Quilting Pins: To enhance blanket quality and to maintain uniform thickness, stainless steel quilting pins @ 2.5 mm2 (14 Gauge) will be placed at random locations no greater than 12” 30CM) apart. Quilting Pins will prevent shifting of the insulation. Stainless Steel speed washers will secure the quilting pin stem in place.

Minimized Air Void: Equipment and equipment heads are typically a multi-piece design, installed in tag number sequence. Heat exchanger heads, large vessel flanges and pump housings will be designed in two half sections. Blanket design will conform to the equipment with minimized air void. Valves are a 2 piece, body bonnet design.

Design Construction: Sample: Submit a blanket sample for review and approval. A 10”x12” (25CM x 30CM) Sample is required and must identify all characteristics mentioned in the above requirements. Deviations will result in a bid rejection.

FASTENING OPTIONS:

Stainless Steel Double “D” Ring Strap

A 1.5” (3.8CM) wide LFP composite 20 mil thick Strap 4-3/4” (12CM) overall long stationary strap is folded with two 1.5” (3.8CM) in width stainless steel “D” rings heat sealed to the outer surface of the jacket. This is placed ½” (1CM) from the closing seam edge. The pull-down strap, minimally 14” (36CM) long, of the same material is heat sealed to the outer jacket 3” (4.8CM) in from the closing seam edge. Both matching straps are spaced along the closing seam edge no greater than 8” (20CM) apart. All closing seams have a 1.5” (3.8CM) extended LFP flap, which is placed along the stationary strap side of the closing seam.

Non-Metallic Side Release Buckle and Strap

The blanket fasteners will be 1 1/2” Delrin Side Release Buckles with 1.5” wide LFP composite 20 mil thick Straps. The Buckle strap will be a minimum of 5-1/2” long and will be heat sealed to the outer surface for a minimum of 5” in length. A matching pull strap will also be heat sealed on the outer jacket surface and will match up to the Buckle Strap. The pull strap will be a minimum of 14”.

Assembly Drawing Requirements: Each blanket insulation project will include an instruction package shipped with the blanket material. This package will include Assembly Drawings identifying piece location, a Material List of all pieces and Instructions for Installation. Accurate CAD files & project records must be kept by the manufacturer. For a minimum of ten years these records will assure accuracy in re-ordering and part replacement. All blankets are to be CAD designed / CNC produced to assure the highest quality and precise fit.

Storage: Once shipment is received, protect Shannon Blanket Insulation from water damage and/or other abuses prior to installation. Shannon Blanket Insulation will be shipped in cardboard

Project Accuracy & Effectiveness: Must demonstrate the efficacy of precision, through use of CAD design. The efficacy of precision markings with the ability to maintain a high degree of repetitiveness and control of manufacturing tolerances for locations of I.D. tags, stitch lines, cut lines for stuffing, cutting of jacketing & insulation materials through use of CNC cutting systems & software.

Record Keeping: The correlating Project Production Drawings will also be kept on file with the blanket manufacturer. The latest revisions, if any after installation, will be recorded and filed on the CAD drawing system. This file will also be kept for a minimum of ten years to assure accuracy in re-orders of replacement parts.

Project Qualifications

All items insulated will require a site visit prior to bid submittal. Upon receipt of project contract, each item must be field measured for “Custom Fitting” to match existing field conditions. Each item must be tagged and or marked for reference. At the time of installation, blankets must have a corresponding tag on the blanket and must match to an existing tag in the field. No standard blanket designs will be accepted to assure a “Custom Fit” design with high efficiency.

Warranty

Guarantee that all blankets accommodate field conditions, gauges, tubing, piping, brackets, etc. and fit correct, for optimum performance as per the design specification. In addition, for 18 months, cover the cost of replacing the blanket should the failure be due to premature degradation of any component in the blanket construction, as well as any defects due to poor workmanship.

Installation Guidelines:

Once received, open boxes with care, DO NOT “cut” deep into container to avoid damaging blankets.

Locate the Instructions for Installation.

Follow the Material List & Blanket Part Number.

Refer to the Assembly Drawing for orientation of each blanket part number and installation details of each part.

Locate the Identification Tag on each blanket, for correct description and sequence of blankets.

Material is installed in tag number sequence.

Use leather gloves to install material.

Site Preparation:

Apply Blanket Insulation on clean, dry surfaces and avoid trapping oils or combustible materials.

SELECT YOUR: Testing Requirements

ASTM C 335		Standard Test Method for Steady-State Heat Transfer Properties of Pipe Insulation.

ASTM E 1222 – 90		Standard Test Method for the Laboratory Measurement of the Insertion Loss of Pipe Insulation.

ASTM C 1045 – 07		Standard Practice for Calculating Thermal Transmission Properties under steady state conditions

UL 1709			Standard Fire Test of Protection Materials for MOV / Structural Steel

ASTM E-84-17		Surface Burning Characteristics of Building Materials (Flame Spread & Smoke)

ASTM E-136		Combustion Characteristics of Building Materials / Fire Test Response

ASTM D3787		Burst Strength Evaluation for ASTM F1138 – Spray Shield Compliance